## Slide 1: “TAVR: Transcatheter Treatment of Aortic Stenosis Comes of Age”
Muhammad Raza, MD, FACC, FSCAI, RPVI.
Interventional cardiologist
Director, Cardiac Cath Lab,
Crozer Chester Medical Center,
Upland, PA

## Slide 2: Disclosure
Consultant and Proctor – Medtronic
Consultant – Abbott Vascular

## Slide 3: Natural History of Aortic Stenosis
Age (years)
Survival (percent)
Increasing obstruction,
myocardial overload
Average Age Death
Latent Period
Symptoms
40
50
60
70
80
from Ross and Braunwald, Circulation 1968;38:V-61
100
80
60
40
20
0
Notes: Aortic stenosis typically indolent and gradually progressive early in course
Prognosis benign during latent period prior to onset of symptoms
However dramatic worsening of prognosis after development symptoms
  Typically age 70’s - 80’s
  Bicuspid age 5th or 6th decade

## Slide 4: Therapeutic Options in AS
Medical therapy!
  AS = Mechanical problem = Mechanical solution
  No medical therapy effective in delaying progression or altering outcome of AS
Surgical therapy
Transcatheter therapy

## Slide 6: Hemodynamics Performance
TAVR System’s supra-annular valve function achieves larger EOAs and lower gradients than intra-annular TAV designs, lessening the risk of patient-prosthesis mismatch especially in smaller annulus patients. 1
Abdelghani, et al. JACC, 2018.
Intra-Annular TAV Design
Evolut R Supra-Annular TAV
Notes: Increase in EOA by quintile
17.7%
15.2%
14.5%
10.6%
34.0%

## Slide 7: PARTNER 1 Trial – 5-Year Outcome All-Cause Mortality
TAVR | 244 | 189 | 167 | 141 | 115 | 50
SAVR | 248 | 168 | 150 | 125 | 93 | 46
No. at Risk
  HR [95% CI] = 0.91 [0.72, 1.14]
  p (log rank) = 0.41
63.3%
63.3%
Error Bars Represent 95% Confidence Limits

## Slide 8: PARTNER 11 Trial All-cause mortality*
1077
1043
1017
991
963
944
859
836
808
795
Number at risk:
SAPIEN 3 TAVR
Surgery
Months from procedure
All-cause mortality (%)
0
10
20
30
40
7.4%
13.0%
1.1%
4.0%
0
3
6
9
12
TAVR with SAPIEN 3 valve
Surgery (PIIA)
*The PARTNER II trial intermediate-risk cohort unadjusted clinical event rates.
1.1%
4.0%
Notes: Here we see the unadjusted rates of all-cause mortality at 30 days and 1 year for the two groups.

## Slide 9: PARTNER 11 Trial Disabling Stroke*
Months from procedure
Disabling stroke (%)
0
10
20
30
40
2.3%
5.9%
1.0%
4.4%
0
3
6
9
12
TAVR with SAPIEN 3 valve
Surgery (PIIA)
1077
1033
1008
884
953
806
778
764
*The PARTNER II trial intermediate-risk cohort unadjusted clinical event rates.
SAPIEN 3 TAVR
944
825
Number at risk:
Surgery
1.0%
4.4%
Notes: Here we see the unadjusted rates of disabling stroke at 30 days and 1 year for the two groups.

## Slide 10
All-cause mortality
PARTNER 111 Trial

## Slide 11
Disabling Stroke
PARTNER 111 Trial

## Slide 12: TAVR is standard of care for majority of AS patients
The fact that two separate groups using two separate valves have come to very similar conclusions, this not only doubles the acceptability, but it quadruples it."
Eugene Braunwald, MD

## Slide 13: Severity of PPM definition in the aortic Valve Position
Severe
Moderate
Mild
Indexed EOA (cm2/m2)
0.65
0.85
EOAi in obese (cm2/m2)
0.6
0.7
Kappetein, A. Pieter, et al. European heart journal 33.19 (2012): 2403-2418.
Patient Prosthesis Mismatch

## Slide 14
Patient Prosthesis Mismatch

## Slide 15: Structural Valve Degeneration

## Slide 16
Structural Valve Degeneration

## Slide 17: Coronary Access Post TAVR

## Slide 19: Natural History of Aortic Stenosis
Age (years)
Survival (percent)
Increasing obstruction,
myocardial overload
Average Age Death
Latent Period
Symptoms
40
50
60
70
80
from Ross and Braunwald, Circulation 1968;38:V-61
100
80
60
40
20
0
Notes: Aortic stenosis typically indolent and gradually progressive early in course
Prognosis benign during latent period prior to onset of symptoms
However dramatic worsening of prognosis after development symptoms
  Typically age 70’s - 80’s
  Bicuspid age 5th or 6th decade

## Slide 20
Earlier Intervention
Active Trials
There is interest in using TAVR to intervene earlier in the AS disease process to prevent inevitable myocardial damage and functional decline
TAVR UNLOAD
TAVR will be compared to medical therapy in patients with moderate AS, symptoms of heart failure, and reduced EF
EARLY TAVR
TAVR will be applied to asymptomatic patients with severe AS

## Slide 21: Summary
TAVR is standard of care for patients with AS
Short Term Outcomes:
  Mortality
  Stroke
  Paravalvular Leak
  Access
  Permanent PaceMaker
Long-term Outcomes:
  Patient Prothesis Mismatch
  Durability
  Coronary Access
  TAVR in TAVR
Technology is going to continue to improve

## Slide 22: TAVR at CCMC

## Slide 23: Thank you